## SeaMetrics
| Seametrics | Elster | ABB (Elster) | Siemens | Toshiba | ISOIL | Krohne | Badger | Badger
Manufacturer | iMAG 4700 Series | evoQ4 | Aquamaster | Mag8000 | GF630 | MS2500 | Waterflux 3070 | M5000 | M3000
Location | Kent, WA USA | Ocala, FL | Warminster, PA | Springhouse, PA | Houston, TX | Buffalo, NY | Duisburg, Germany | Racine , WI | Racine, WI
Features
Sizes | 4" to 12" (3") | 1" to 8" | 1" to 48" | 1" to 48" | 1/2" to 24" | 1" to 42" | 1" to 24" | 1/2" to 24" | 1/4" to 24"
Power | AC/DC/Battery | AC/DC | AC/DC | AC/DC 12/24/115/230 | AC/DC | AC/DC 12/24/115/230 | DC Only (AC-IFC100/300) |  | AC /DC
Battery max (yrs) | 6.5 | 10 | 3 | 6 to 10 | NA | 1 mth to 10 yrs | 6 to 10 | 10 | Not available
AC Power | Internal | No | Yes | Yes | Yes | Yes | Yes |  | Yes
Solar Power | Yes | No | No | No | NA | No | No | No | No
Other |  | Pulse Output for AMR | Datalogging, Pressure | Datalogger, Tarrifs, Advanced | Class I, II, III Div 2 | Telemetry/Datalogging | Telemetry - GSM | Bi-directional | Uidirectional or
|  | Encoder Output | AMR, Telemetry, Tarriffs |  | Field reverification |  | Datalogging - Optional |  | Bi-directional
[5 empty] | Damping, bi-directional |  |  |  | Backlit display
Flow Ranges
1/4" | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | .0153 to 5.02 gpm
1/2" | N/A | N/A | N/A | N/A | .28 to 28 gpm | N/A | N/A | .06 to 20 gpm | .06 to 20 gpm
1" | N/A | N/A | 0.19 to 55 gpm | 2 to 80 gpm | .78 to 78 gpm | 2.37 to 77.9 | N/A | .245 to 80.3 gpm | .245 to 80.3 gpm
1-1/4" | N/A | N/A | N/A | N/A | 1.28 to 128 gpm | N/A | N/A | .38 to 125.5 gpm | .38 to 125.5 gpm
1-1/2" | N/A | N/A | N/A | N/A | 2 to 199 gpm | N/A | N/A | .55 to 180.7 gpm | .55 to 180.7 gpm
2" | N/A | 1/4 to 220 gpm | 0.74 to 220 gpm | 9 to 380 gpm | 3.11 to 311 gpm | 9.49 to 311.4 | 0.44 to 220 gpm | .98 to 321.2 gpm | .98 to 321.2 gpm
2.5" | N/A | N/A | N/A | N/A | 5.26 to 526 gpm | N/A | N/A | 1.5 to 501.8 gpm | 1.5 to 501.8 gpm
3" | 3.62 to 723 gpm | 1/2 to 550 gpm | 1.84 to 756 gpm | 20 to 800 gpm | 7.97 to 797 gpm | 24.3 to 797.4 | 1.1 to 551 gpm | 2.2 to 722.7 gpm | 2.2 to 722.7 gpm
4" | 6.43 to 1,285 gpm | 0.88 to 881 gpm | 3.0 to 1,268 gpm | 30 to 1,400 gpm | 12.45 to 1,245 gpm | 37.97 to 1,246 | 1.76 to 882 gpm | 3.9 to 1,285 gpm | 3.9 to 1,285 gpm
5" | N/A | N/A | N/A | N/A | 19.45 to 1,945 gpm | N/A | N/A | 6.1 to 2,007 gpm | 6.1 to 2,007 gpm
6" | 14.46 to 2,891 gpm | 3.3 to 1,378 gpm | 7.5 to 2,838 gpm | 75 to 3,000 gpm | 28 to 2,801 gpm | 85.44 to 2,803 | 2.78 to 1,380 gpm | 8.8 to 2,890 gpm | 8.8 to 2,890 gpm
8" | 25.70 to 5,140 gpm | 5.2 to 3,469 gpm | 11.5 to 3,658 gpm | 120 to 5,000 gpm | 49.8 to 4,980 gpm | 151.9 to 4,984 | 3.75 to 1,873 gpm | 15.7 to 5,139 gpm | 15.7 to 5,139 gpm
10" | 40.15 to 8,031 gpm | N/A | 18.5 to 5,855 gpm | 180 to 8,000 gpm | 77.8 to 7,781 gpm | 237.3 to 7,787 | N/A | 25 to 8,209 gpm | 25 to 8,209 gpm
12" | 57.82 to 11,565 gpm | N/A | 29.5 to 8,806 gpm | 280 to 12,000 gpm | 112 to 11,200 gpm | 341.8 to 11,213 | N/A | 35.2 to 11,562 gpm | 35.2 to 11,562 gpm
14" | N/A | N/A | N/A | N/A | 152.5 to 15,200 gpm | N/A | N/A | 48 to 15,738 gpm | 48 to 15,738 gpm
16" | N/A | N/A | 91.5 to 13,759 gpm | 500 to 22,000 gpm | 199.2 to 19,920 gpm | 607.6 to 19,934 | N/A | 62.7 to 20,555 gpm | 62.7 to 20,555 gpm
18" | N/A | N/A | N/A | N/A | 252 to 25,210 gpm | N/A | N/A | 79.3 to 26,015 gpm | 79.3 to 26,015 gpm
20" | N/A | N/A | 183.5 to 22,014 gpm | 800 to 31,000 gpm | 933.7 to 31,120 gpm | 949.4 to 31,147 | N/A | 97.9 to 32,118 gpm | 97.9 to 32,118 gpm
24" | N/A | N/A | N/A | N/A | 1,344 to 44,820 gpm | N/A | N/A | 141 to 46,249 gpm | 141 to 46,249 gpm
Installation
Straight Pipe | 2 up and 1 down | 5 up and 3 down | 5 up and 2 down | 5 up and 3 down | 5 up and 0 down | 3 up and 2 down | Not Specified | 3 up and 2 down | 3 up and 2 down
Electronics | Integral and Remote | Integral and Remote | Integral and Remote | Integral and Remote | Integral and Remote | Integral and Remote | Integral and Remote | Integral and Remote | Integral and Remote
Inputs/Outputs
Encoder Output | No | Yes (April 09) | Yes (Scancoder) | TBD (Sensus?) | NO | No | No
Pulse Output | Yes | Optional | Yes (Two) | Yes (std) | Yes (Two) | Yes | Yes (Two) | Yes
4-20mA Output | Yes | No | No | No | Yes | Yes | No
RS232 (Modbus) | Yes | No | Yes | Yes | No | Optional | No | Yes | Yes
Relay output | [7 empty] | No | Yes
Digital | Yes (Two) | [6 empty] | 4 Digital | 4 Digital
Hart | Yes |  |  |  | Yes
PROFIBUS |  |  |  |  | Yes
RS485 (Modbus) | Yes | No | No | Yes | Yes | No | No | No | Yes
Telemetry | Yes | No | No | No |  | Optional | Optional
Pressure | No | No | Optional | No | No | No | No
Performance
Accuracy | +/-0.75% of reading 4700p & 4700r (+/-1.0% of reading 4700) | 0.75% of reading | 0.5% of reading | 0.4% of reading (std) | .2% of rate (1/2" to 18")⁰ | +/-0.2% of reading | +/-0.2% of reading | +/-0.50 of reading | +/-0.25%
| +/-0.025% of full scale flow from low flow cutoff to maximum flow rate | 95% of reading - low flow | 1.5% of reading - Low flow | 0.2% of reading (ext) | .3% of rate (20" to 24")¹ |  |  | above 1.64 ft/sec | above 1.64 ft/sec
Construction
Body | Welded Steel, epoxy coated | 304 SS body | Stainless Steel housing | Carbon Steel | Carbon Steel | Carbon Steel | Carbon Steel | 316 stainless | 316 stainless
[6 empty] | 304/316ss optional | Aluminum (future)
Housing | Powder-coated diecast aluminum
Flanges | ANSI 150 lb flanges drilled | Epoxy CI flanges | Not Specified | Not Specified | ASME B 16.5 class 150² | Not Specified | Not Specified | ANSI class 150, cast steel | ANSI class 150, carbon steel
[8 empty] | ANSI class 150, Stainless steel | ANSI class 150, Stainless steel
Liner | Santoprene/polyproylene | 316 SS tube | Rubber (TBD) | EPDM | FEP, PTFE or polyurethane | Polypropylene, PTFE | Rilsan | PTFE or Hard Rubber | PFA 1/4"- 3/8"
PTFE 1/2"-24"
Halar 12"-24"
Electrodes | 316 SS | 316 SS tube | 316L SS | Hastelloy C276 | 316L SS or Hastelloy C | 316 SS | 316L SS | Alloy C | Alloy C
[8 empty] | Optional; 316 stainless | Optional; 316 stainless, tantalum
gold/platinum plated, platinum/rhodium
Approvals
UL | No | No | No | No |  | No | No
FM | No | Yes (3"-8") | Optional | No | Yes | No | No
CE | Yes | [7 empty] | Yes
AWWA | [7 empty] | Class B | Class B
CSA | No | No |  | No | No | No | No |  | Yes
NSF61 | Yes | Pending | No | Yes | Yes | No | No | Hard Rubber 4" and up; PTFE all
Class 1 Div 2 | [7 empty] | No | Yes
OIML R49 | No | No | Yes | No | No | No | Yes
Environmental | IP68 | NEMA 4X | NEMA 6P | NEMA 6P | IP67 (IP68 optional) | NEMA 4X | NEMA 4 / 4X / 6 / 6P | IP66/67 | IP66/67
3rd Party Options | None | No | Encoder output / Cello | Cello | N/A | N/A | N/A
Warranty (years) | 2 | 5 | 1 | 1 | 10 | 1 | 1 | 2 | 2
Warranty Battery (Years) | ? | 10 | 3 | 6 | NA | TBD | 15 |  | NA
Base Price as of | 2014 iMAG4600 | 4/2014 | 10/2013 | 2/2014 | 5/2014³
1/2" | N/A | N/A | N/A | N/A | 1505
1" | N/A | N/A | 1995 |  | 1565 |  | N/A
1-1/4" | N/A | N/A | N/A | N/A | 1579
1.5" | N/A | 1520 | 2145 | N/A | 1579
2" | N/A | 1560 | 2245 |  | 1608
2.5" | N/A | N/A | 2500 |  | 1665 | N/A
3" | 2374 | 2400 | 2295 |  | 1693
4" | 2642 | 2770 | 2600 | 4085 | 1743
5" | N/A | N/A | N/A | N/A | 1866
6" | 2922 | 4650 | 2800 | $2,040* | 2053
8" | 3176 | 7400 | 3492 | $2,075* | 2796
10" | 3597 | 10310 | 3800 | $2,355* | 3605 |  | N/A
12" | 5150 | 11700 | 4392 |  | 4319 |  | N/A
14" | N/A | N/A | N/A | N/A | 5111
16" | N/A | N/A | N/A |  | 6648 |  | N/A
18" | N/A | N/A | N/A | N/A | 7648
20" | N/A | N/A | N/A |  | 9036 |  | N/A
24" | N/A | N/A | N/A | N/A | 11482 |  | N/A
|  |  |  | *Irrigation meter | ⁰See specs for full statement.
¹See specs for full statement.
²JIS B 2220 10K (also available)
³1/2"-16" 316 SS electrodes &
Polyurethane liner
18"-24" Hastelloy electrodes &
PTFE liner